|  | Peninsula Laboratories International, Inc. 305 Old County Road, San Carlos, CA 94070 Tel: (650) 801-6090 Fax: (650) 595-4071 |  |
| --- | --- | --- |

Cat. No. S-1246

###### Endomorphin-2

##### SPECIFICATIONS:  Formulated for extracted samples

##### STANDARD:	1 (g	H-Tyr-Pro-Phe-Phe-NH2

##### PROTOCOL:	III (Std.Ab1hr.Bt)

RANGE:	0-5 ng/ml

AVERAGE IC50: 		0.1 ng/ml

SHELF-LIFE:	One year from production date

#### CROSS REACTION:

PEPTIDE	%

Endomorphin-2	100

Endomorphin-1	0

(-Casomorphin (1-4) amide (bovine)	0

(-Endorphin	0

(-Endorphin	0

Leu-Enkephalin	0

Met-Enkephalin	0

MSH-Release Inhibiting Factor	0