|  | Peninsula Laboratories International, Inc. 305 Old County Road, San Carlos, CA 94070 Tel: (650) 801-6090 Fax: (650) 595-4071 |
| --- | --- |

Cat. No. T-4199

Rabbit anti-Brain Natriuretic Peptide-34 (BNP-34) (3-34) (dog)

GENERAL SPECIFICATIONS

STORAGE:

This polyclonal antibody is supplied as a lyophilized powder.  Store at 2-8°C upon receipt.  For long-term storage, store at -20°C and can be stable for up to one year.  Avoid repeated freeze/thaw cycles.

RECONSTITUTION INFORMATION:

Each vial contains enough antiserum for 500 RIA tubes.  The powder should be rehydrated with 50ml of RIA buffer.  Upon reconstitution to 50ml total volume, the solution contains 0.1M sodium phosphate buffer (pH 7.4), 0.05M NaCl, 0.1% BSA, 0.01% NaN3, and 0.1% Triton X-100.  Store at 4oC.  This should insure antibody stability for approximately one month.

###### CROSS REACTION

PEPTIDE:	%:

Brain Natriuretic Peptide-34 (3-34) (canine)	100

Brain Natriuretic Peptide-32 (human)	0

Brain Natriuretic Peptide-32 (rat)	0

Brain Natriuretic Peptide-32 (porcine)	0